## Cover
Is your community or park considering a new comfort station/restroom?
Are you looking for ways to green an existing comfort station/restroom?
This spreadsheet provides a menu of ideas to green a comfort station/restroom related to water, waste, energy and green building practices
The sustainability items in this spreadsheet were compiled during the development of Scarsdale's ECO-Comfort Station at the Scarsdale Middle School. As of June 2015, development of the ECO-Comfort Station is underway. These ideas were presented by the Scarsdale Forum Sustainability Committee at the Greening Our Parks Conservation Cafe event on May 29, 2015.
Scarsdale Forum Sustainability Committee Contacts:
Michelle Sterling (dfenigstein@yahoo.com)
Ron Schulhof (rkschulhof@gmail.com)

## Sustainability Items
Sustainability Ideas
| Sustainability Ideas | Comments | Key Considerations | Sample Product / More Info
Waste and Water
| Low Flow or Dual Flush Toilet | - Dual Flush: ensure handle defaults to full flush so low flow isn't accidentially used (e.g. down for full, UP for low) | - Upfront cost - Sensor vs. handle (ease, sanitary, false sensing) - Water savings - Maintenance and reliability | - Sloan Uppercut
| Composting Toilet | - Complete system composting toilets available - Likely requires basement space to house composting unit - Will have to be emptied periodically (depending on use) - option to use installer for service as well | - Space to house composting unit - Service contract | - Clivus Multrum (installed at Bronx Zoo)
| Low flow faucet | - Water sense faucet or low flow aerator | - Low flow / aerator | - Most models available low flow
| Faucet sensors | - Sensors instead of traditional handle on faucet to ensure water not left running - Ideally solar powered faucet sensors (if enough outdoor light) | - Upfront cost - Water savings (gpm and run-time / sensor) | - Sloan Solis (solar)
| Gray water system | - Capture gray water from faucet to be used for flushing toilet or irrigation around building | - Volume of water captured - Use for gray water - Ability to pipe from source to use
| Waterless urinal | - If urinals are being installed
| Rain garden | - Tie into gutter system - See example from Bronx zoo pictures - pipes run from rain barrel and faucets to underground pipes in soil
| Dual Fill Water Fountain | - Area for drinking straight from fountain and filling up bottles - Counter with number of plastic bottles saved | - Upfront cost - Energy use / operating cost (if chilled) - Bottle filing ease - Water filtering - Meter to count plastic bottles saved | - Elkay EZH20
| Recycling cans | - Attached garbage / recycling cans | - Attached units - Colored, lid shapes and signs (fornt and top)
| Tennis ball recycling | - E.g. reBounces.com program
Energy
| Solar panels | - Feed electric use in building or net metering | - Direction of roof - Upfront cost vs. operating savings (net metered?)
| Energy Efficient HVAC | - If building has heating and/or cooling, utilize high efficiency systems
| Hand dryers | - Energy efficient hand dryers instead of paper towel dispensers | - Upfront cost vs. operating cost - Noise vs. dry time - Air only vs. Heat and air (uses more power) - Durability - Cleaning and maintenance schedule | - Dyson Airblade - XLERATOR - Blu Storm
| Motion sensor lighting | - All light switches should be motion sensor or set on a timer to turn off automatically - Note: Ensure lights wont turn off on someone in bathroom | - Timer length once light is triggered - Compatible with LED fixtures
| LED Lights | - All light fixtures should be LEDs | - Light color, lumens, compatable with motion sensors
| Ceiling fan | - Reduce air conditioning need in summer
| South facing windows | - Provide heat from sun in sinter
| Solar Tubes | - Provide natural lighting during day - These are modern day skylights | - Secondary option if privacy glass not feasible - Integrate lighting into unit (LEDs) w/ motion sensor - Use may be limited if solar panels are installed | http://www.solatube.com/residential/daylighting
| Privacy windows / walls | - Provide natural lighting while maintaining privacy - Ideally an entire wall to bring in a lot of light
| Exterior outlets for phones | - Powered by solar panels
Sustainable Building
| Green raw materials | - No formaldihyde in plywood, etc. - Low VOC (paints, flues, materials, etc.) - Sustainably Sourced (e.g. FSC wood)
| Insulation | - Ideally a recycled material (e.g. denim insulation)
| Green roof | - On sections without solar panels
| Recycled rubber roof | - Recycled material - Can be made to look like other materials
| Pervious walkway / landing | - If walkways or landings are needed, use pervious material (e.g. open stones from bronx zoo) | - Durability - Water perviousness - Aethetics
| Recycled Tiles | - Pre or post consumer recycled content tiles
| Bike Rack | - Made from recycled metal if possible (ideally metal from other Scarsdale demos like parking meter poles)
Education
| Signs | - Signage to identify and explain all sustainable aspects of the building
| Interactive Displays | - Ideas / questions about sustainability that visitors can answer (see bronx zoo example of sliding answers)
| Clear wall section | - E.g. a small section of wall that is clear to show use of denim insulation
| Visible Meter and annual energy usage report | - Visible meter for building so visitors can see real-time solar generation - Monitor and post monthly energy usage (if building is metered separately)

## kWh Calcs (hidden)
|  |  | Usage | [5 empty] | Idle Drain | [5 empty] | Total
|  | # Installed | Avg Watts | Hrs / Day | Hrs / Month | Hrs / Yr | kwH / Month | kwH / Yr | Avg Idle Watts | Plugged? | Hrs / Month | Hrs / Yr | kwH / Month | kWH / Yr | kwH / Month | kWH / Yr | $ / Yr
Restrooms
| Hand Dryer | 2 | 1500
Faucet sensor
Ceiling Fan??
Office
Lighting
Ceiling Fan
Computer
Add'l Electronics?
Storage
Lighting
Outside
Lighting
Water Fountain
Water Fountain Chiller
Overall Assumptions
Number of months station open
Number of hours per day
|  | Bulb Info & Use | [7 empty] | Cost Estimates
Lighting |  | # of Bulbs | Bulb | Type | Watts | Hours / Day | Hour / Yr | kWh / Month | kWh / Yr | Cost / Hour | Est. Cost / Day | Est Monthly Cost | Est Annual Cost
| Women's Room | 4 | R20 | LED | 8 | 1 | 365 | 0.9728 | 11.68 | 0 | 0 | 0 | 0
Men's Room
Office
Storage
Exterior
Hand Dryer Hours per Day
| Number of Visitors per Hr | 10
| Hours per Day | 12
Time per Usage